ASC C63 SC 8:  Medical Device EMC

Minutes for Wednesday, October 28, 2007; 8:00 AM

Piscataway NJ

The following SC8 members were present:

Joe Morrissey, SC-8 Chairman			Motorola			ejm037@motorola.com

Bob DeLisi, SC8 Vice Chair			UL				Robert.v.delisi@us.ul.com

Steve Berger, WG3 chairman			Ind Consultant		stephen.berger@ieee.org

Don Heirman, ANSI ASC C63® Chair		Ind Consultant 		d.heirman@ieee.org

Dan Hoolihan					Ind Consultant		danhoolihanemc@aol.com

Ed Hare						AARL				w1rfi@arrl.org

Victor Kuczynski					Vican Elecronics		vican@on.aibv.com

Mike Windler					UL				michael.j.windler@us.ul.com

Linda Kozma-Spytec				Gallaudette			Linda.kozma@tap.gallaudet.edu

Jeff Silberberg					FDA				jeffrey.silberberg@fda.hhs.gov

Jim Turner						ATIS				jturner@atis.org

David Case						Cisco				davecase@cisco.com

George Hirvela					ATT				george.hirvela@att.com

Daoud Attayi					RIM				dattayi@rim.com

Steve Coston					SonyEricsson		steve.coston@sonyericsson.com

David Zimmerman					TUV America		dzimmerman@tuvam.com

Steve Whitesell					TIA				swhitesell@vtech.ca

Ralph Showers					Ind Consultant		showers@seas.upenn.edu

The following members were absent:

Bob Hofmann					Ind Consultant 		hrhofmann@att.net

Herb Mertel						Ind Consultant		hmertel@sbcglobal.net

Jag Nadakuduti					Motorola			EJN026@motorola.com

Dheena Moongilan					Alcatel / Lucent		moongilan@lucent.com

Werner Schaefer					Cisco				wsemc@cisco.com

Paul Cardinal					RIM				pcardinal@rim.com

Harry Levitt						NYU				harrylevitt@earthlink.net

Mike Violette					ACIL				mikev@wll.com

Richard Worley

Bill Hurst						FCC				william.hurst@fcc.gov

Matt Bakke						Gallaudett			matthew.bakke@gallaudet.edu

Daniel Ahlers					Nokia				danield.ahlers@nokia.org

Bill Stumpf						DLS Elect Syst		bstumpf@dlsemc.com

Masud Attayi					RIM				mattayi@rim.com

Bob Jenkins						Welch Allyn			bjenkins@monitoring.welchallyn.com

Tom Victorian					Starkey			tom_victorian@starkey.com

Kendra Green					Samsung			kgreen@sta.samsung.com

Don Witters						FDA				donald.witters@fda.hhs.gov

The following guests observed the meeting:

Poul Andersen					SAE				anderpoul@comcast.net

Dave Preves						Starkey			dpreves@aol.com

Dean Ghizzone					NWEMC			dghizzone@nwemc.com

David Dzumba					Nokia				david.dzumba@nokia.com

Colin Brench					SWRI				colin.brench@ieee.org

Sig Soli						HEI				ssoli@hei.org

The following IEEE staff were present:

Matt Ceglia						IEEE-SA			m.j.ceglia@ieee.org

Mike Kipness					IEEE-SA			m.kipness@ieee.org

- The meeting was called to order at 8:00 AM by the Subcommittee 8 Chairman

- The agenda and minutes from the last meeting were approved

- WG-1 report was made by Joe Morrissey

  - Motion carried (6 yes / 5 no) to bring ANSI C63.18 to main committee for ballot

- WG-3 report was made by Steve Berger

  - WG membership and voting rules were reviewed and adopted

  - A revised work plan (developed in the WG meeting on Monday) was adopted (attached as an annenx)

  - An overview of the presentation to the FCC (OET and WTB) was given

- Jim Turner gave an overview of the work within ATIS AISP.4 (HAC Incubator) on volume control and stated the Incubator would dissolve by the end of the year as work is completed

- Dr. Linda Kozma-Spytek gave an overview of the work at Gallaudette and attempts to obtain NIDDR funding

- Dr. Sig Soli gave a presentation on the ongoing work at the House Ear Institute

- Joe Morrissey gave an overview of the relevant psychoacoustic literature

- Jeff Silberberg gave a report on 60601-1-2

- Dave Southworth gave a report on activities in SC 2.

- Poal Anderson gave a report on activities in SC 3.

- Don Heirman gave a report on activities within AAMI.

- Dave Prece gave a report on activities of IEC/TC29, particularly that new immunity limits (90 V/m below 960 MHz, 50 V/m 960-2400 MHz, 35 V/m 2400-2500 MHz) had been developed for the next revision

NEXT MEETING: October 6-9, 2008 at UL in Chicago

The meeting was adjourned at 12:30 PM

Work Plan for current PINS:

- To expand the frequency range of the standard to cover 698 MHz to 6 GHz.

The extension of the lower frequency range is to include the wireless mobile technologies in 698 MHz band as mandated by recent FCC Report and Order.

The extension of the upper frequency range up is to include newer technologies in the bands between 3 – 6 GHz, including the 4.9 GHz band as referenced in the latest FCC Report and Order

a) Design/Testing and Simulation of Dipoles for the frequency extensions.

b) Extend calibration range of test probes from 698 MHz to 6 GHz.

- To provide AWF factors for systems operating in the 698 MHz to 6 GHz frequency range.

If possible to develop a generalized treatment based on A-Weighting or some other appropriate weighting to replace the AWF table.

- Evaluate the requirement in Clause 4, 7 and other appropriate sections for RF H-Field measurements.

- To evaluate the correlation of hearing aid immunity test results using the dipole and WB TEM methods and consider the advisability of different field strength requirements for each of the methods to bring the test methods into closer agreement.

- Review and update test equipment specifications generally, specifically Annex D.3, D.4 and D.7.

- To evaluate and possibly improve the specification of the band pass filter referenced in sub-clauses 6.1.1.1.2 and 3.

- Determine and specify the power measurement that is most closely linked to user experience, peak, RMS or other parameter of power.

- Reconsider the need for 3 T-Coil positions relative to user needs.

- The RF probe separation distance is 1.5 cm and the calibration values in table 4.2 were made at 1.0 cm. These calculations need to be redone to the 1.5 cm distance.

- To combine sub-clauses “4.4.1.2.1 Manual scanning method” and “4.4.1.2.2 Automated scanning method” into a single section requiring a positioning resolution and accuracy.

- To add a ‘no RF test’ option for low power transmitters that are almost certain to achieve category 4 due to their low transmission power.

- To review and adopt any editorial improvements proposed, including review and update of references and bibliography.