## Slide 1
Accredited Standards Committee C63® - Electromagnetic Compatibility
SC8 Report
October 22, 2009

## Slide 2
Current SC8 Membership

## Slide 3: ASC C63® SC8 Update
Status of SC8
Needs a Secretary
Needs a Web Coordinator
Subcommittee Vice Chair is currently assuming the responsibility of the Subcommittee Chair.

## Slide 4: ASC C63® SC8 Update
WG1: ANSI C63.18
  Resolution to comments is underway
  Completion for comment resolution targeted for November 30, 2009
  Submission to the main committee at that time for recirculation ballot.

## Slide 5: ASC C63® SC8 Update
WG3: C63.19
Validation of new procedures in the draft is currently in process
Completion of the validation testing is targeted to be completed by February 2010
Target to have document ready for Ballot by March 2010

## Slide 6: ASC C63® SC8 Update Liaison Reports
IEC 60601-1-2 Ed. 4, IEC 6XXXX, Interpretation sheet developed
Organized a series of five workshops on wireless in healthcare
Worked with RFID Experts Group (REG)
Working on FDA wireless guidance
FDA Report

## Slide 7: ASC C63® SC8 Update Liaison Reports
IEC 60601-1-2 interpretation sheet
  62A/676/DC (Comment period closes Nov. 20)
  To reiterate/clarify that if EMC testing is performed at the line voltage and frequency specified in the standard, testing does not need to be repeated at other voltages or frequencies
IEC 60601-1-2 Ed. 4 (62A/673/CD – Ballot closes Dec. 4)
  Will point to IEC 6XXXX (62A/672/NP – Ballot closes Dec. 4) which includes new test methods, limits for low frequency magnetic fields, new tests and limits for patient cables.
IEC SC62A MT23 Liaison Report