## Slide 1: Test Site Standard WG C63.25 Edition 1, April 2009 Update
Mike Windler
Underwriters Laboratories

## Slide 2: C63.25 Working Group Update
Current Working Group Membership
  Brench, Colin
  Camell, Dennis
  Heirman, Donald N.
  Hofmann, H R (Bob)
  Hoolihan, Daniel D.
  Schaefer, Werner
  Windler, Mike
  Zhong Chen

## Slide 3: C63.25 Working Group Update
PINS approved in October 2008 by the consensus body
Requirements for radiated emissions test sites including open area tests, semi-anechoic rooms below 1 GHz and partially absorber lined open area tests and semi-anechoic rooms above 1 GHz.

## Slide 4: Outline of Draft C63.25
Copy below 1 GHz requirements (performance and construction)
Include by reference SVSWR
Include new Time Domain method
Develop comparison annex between TDR and VSWR
Annex’s - MUC for both TDR and VSWR

## Slide 5: Next Steps due May 1
Review TDR method (clause 6) and annex B
NSA from C63.4 - edit clause 5 and annex A
Add a stake in the ground for mode stirred (clause 9)
Review correlation of SVSWR and TDR compliance (annex E)
Develop MUC for SVSWR and TDR