## Slide 1
ASC C63® SC8

## Slide 2
Current SC8 Membership (MOTION: To Accept Membership)

## Slide 3
SC8 Membership Not on Current List
(may need to be reapproved at the October 2009 meeting)

## Slide 4: ASC C63® SC8 Update
WG1:
  ANSI C63.18 ballot complete
    1 No Vote (FDA) due to a technical issue
    Conference call with FDA addressed technical concerns to their satisfaction
    Currently in Recirculation ballot with editorial changes only

## Slide 5: ASC C63® SC8 Update
WG3:
Consensus agreement on the generalized approach for evaluating and testing new signals
Current efforts involve validating new test method for phones (confirming an equivalent rating with respect to old method test for GSM and minus a ~2dB relaxation)
  Prototype instrumentation developed by S. Julestrom
  ATT, Motorola labs performing comparative testing
General support for including a G-TEM testing method for HA immunity (replacing current dipole method)
  New data presented by T. Victorian showing G-TEM values are ~7dB more conservative than dipole values; limits would be readjusted accordingly
Agreement to hold a 30 day review (poll) of current draft EXCEPT clauses 4 (evaluation of RF signal), 5 (WD test), and 6 (HA test)
Agreement to hold a 60 day review (poll) for clauses 4, 5, and 6
Target date for ballot – June 2009

## Slide 6: Draft Polling Rules
Polling / consensus voting structure
  Did not achieve consensus at October meeting
Chairman's Interim Edict:
  Quorum > 50%
  Return > 50%
  For Motion to Carry > 50% [(+) > (-)]
  Abstentions do not count
  Chair will not vote unless needed to break a tie
Alternative polling procedures can be submitted for SC8 vote and approval

## Slide 7: FCC Report
Initial Report submitted to FCC OET/WTB in May 2008 - ongoing work and progress of ANSI C63.19
At that time, ANSI ASC C63® indicated our intent to submit a follow-up report “in the next few months”
Currently, SC8 is reviewing complex data and actively assembling additional data
The intention is to submit a follow-up report to the FCC OET/WTB that we are confident is both accurate and informative as soon as possible