## Slide 1: Recent FCC Activity
William Hurst, P.E.
Federal Communications Commission
Office of Engineering and Technology
Laboratory Division
April 2010

## Slide 2: Public Notice/KDB Activity
FCC Recognizes C63.4-2009 and C63.10-2009
  Public Notice, DA 09-2478, November 25, 2009
  OET clarifies use of C63.4-2009 and C63.10-2009 for compliance testing of intentional and unintentional radiators under Part 15
Site Validation > 1 GHz
  KDB Publication 704992
  What are the validation requirements for a radiated emission test site above 1 GHz? Can a test site that uses Radio Frequency (RF) absorbers on top of the ground plane be used to make radiated emission measurements above 1 GHz?

## Slide 3: KDB Activity
Antenna Calibration
  KDB Publication 822428
  What procedure should be used to calibrate antennas used to make radiated emission measurements and normalized site attenuation (NSA) measurements?
Wideband and narrowband equipment in the Part 90 re-farming bands
  KDB Publication 579009
  Commission adopted new frequency plans and transition provisions for transmitters under Part 90 of the FCC Rules. Under the new rules, equipment in the Part 90 refarming (narrowbanding) frequency bands 150-174 and 421-512 MHz will no longer be certificated with a 25 KHz emission designator. The new rules prohibit Equipment Authorization of devices with 25 KHz channel spacing after 12/31/2010 (the transition date).

## Slide 4: KDB Activity
Human Torso Simulator and Testing Technique
  KDB Publication 617965
  Transmitter power measurement – use of the human torso technique formerly codified in the MICS rules continues to be acceptable
Part 95 Subpart I, MedRadio device, Output Power Limit
  KDB Publication 771134
  Measurement procedure for the fundamental output power limit of a MedRadio device under Part 95 Subpart
  Former MICS rule section 47 C.F.R. 95.639(f)(1) (2008) referenced techniques set forth in ANSI C63.17-1998, clause 6.1.2.2.1 or clause 6.1.2.2.2

## Slide 5: KDB Activity
Part 90 Z Measurement Procedure
  KDB Publication 965270
  Compliance Measurement Guidance for Wireless Broadband Services Operating in the 3650–3700 MHz Band, Power Measurement for Part 90 Z Equipment
Transmitter Module Equipment Authorization Guide
  KDB Draft Publication 996369
  Guide for equipment authorization applications for Section 15.212 Modular transmitters. Applications for single or limited single licensed modules are permitted.

## Slide 6: TCB Guidance
TCB Roles and Responsibilities
  KDB Draft Publication 641163
  Seeking comment on changes to guidance on TCB Training, Impartiality, Scope of Accreditation (standards), and witness assessment by FCC
TCB Post-Market Surveillance
  KDB Draft Publication 610077
  Seeking comment on changes to guidance on post-market surveillance reporting period, and product sample availability

## Slide 7: Accredited Lab Guidance
Accredited testing laboratory roles and responsibilities
  KDB Draft Publication 974614
  New document with procedures for recognition of accreditation bodies and accredited testing laboratories
Technical assessor checklist
  KDB Draft Publication 853844
  Seeking comments on checklist used for assessment of a testing laboratory that performs EMC tests to 47 CFR Parts 2, 15, and 18
  References to C63.4-2003 and C63.4-2009

## Slide 8: Lab Accreditation Body
ACLASS Recognition
  March 12, 2010 – OET recognized ANSI-ASQ National Accreditation Board/ACLASS for the accreditation of testing laboratories to ISO/IEC 17025

## Slide 9: Spectrum Dashboard
Spectrum Dashboard Launched in “BETA”
  DA 10-475, March 19, 2010

## Slide 11: Equipment Marketing Violations
Section 302(b) of the Communications Act (47 USC § 302a(b)) provides that:
  No person shall manufacture, import, sell, offer for sale, or ship device or home electronic equipment and systems, or use devices, which fail to comply with regulations promulgated pursuant to this section.
The Enforcement Bureau's Spectrum Enforcement Division handles complaints relating to the importation and marketing of radio frequency devices in violation of the equipment authorization and technical requirements set forth in Parts 2 and 15 of the Rules.
  http://www.fcc.gov/eb/marketing/

## Slide 12: Recent Enforcement Actions
04-15-2010 | Airspan Networks (Israel), Ltd. | ORDER & CONSENT DECREE
04-14-2010 | Motorola, Inc. | ORDER & CONSENT DECREE
04-07-2010 | Enhanced Vision Systems, Inc. | ORDER & CONSENT DECREE
02-16-2010 | San Jose Navigation, Inc. | ORDER & CONSENT DECREE
01-07-2010 | MALAA GeoScience USA, Inc., Charleston, SC | CITATION
01-06-2010 | SCS Enterprises Inc. d/b/a Spy Camera Specialists, Inc. | CITATION
12-09-2009 | XLNT Idea, Inc., San Diego, California | FORFEITURE ORDER
12-01-2009 | Creative Audio, Inc. | CITATION
11-20-2009 | Troxell Communications, Inc., Phoenix, Arizona | CITATION
11-18-2009 | Team Research, Inc., San Jose, CA | CITATION
11-10-2009 | Shenzhen Shan Jian Electronics Company, Ltd., Shenzhen, China | CITATION
11-06-2009 | R.F. Technologies, Inc. | NAL
11-05-2009 | Uniden America Corporation | NAL
10-29-2009 | Richfield Electronics (China) Ltd. | NAL
10-16-2009 | Midland Radio Corporation | ORDER & CONSENT DECREE

## Slide 13: Consumer Inquiries and Complaints
Quarterly Report on Informal Consumer Inquiries and Complaints Released
Wireless Telecommunications – Interference
  Second quarter 2009 – 1,182
  Third quarter 2009 - 881

## Slide 14: Consumer Inquiries and Complaints
Report on Informal Consumer Complaints Regarding Access to Communications for People with Disabilities
Second and Third quarters 2009 –
  46 – access to telecommunications services and equipment (Section 255)
  112 – telecommunications relay services (TRS)
  214 – closed captioning
  18 – accessibility of video programming providing emergency information
  3 – hearing aid compatibility

## Slide 15: Equipment Authorization Certification Trends

## Slide 16: Top Ten Equipment Classifications
Category | Description | Percent | FCC Rules
DSS | Part 15 Spread Spectrum Transmitter | 18.7 | 15C
DTS | Digital Transmission System | 16.1 | 15C
DXX | Part 15 Low Power Communication Device Transmitter | 13.9 | 15C
JBP | Part 15 Class B Computing Device Peripheral | 11.4 | 15B
PCE | PCS Licensed Transmitter held to ear | 9 | Licensed 24
DSC | Part 15 Security/Remote Control Transmitter | 4.5 | 15C
TNB | Licensed Non-Broadcast Station Transmitter | 4.4 | Licensed 22
PCB | PCS Licensed Transmitter | 4.1 | Licensed 24
NII | Unlicensed National Information Infrastructure TX | 3.6 | 15E
8CC | Part 18 Consumer Device | 1 | 18
 | Total | 86.7 | 

## Slide 17: MRA Status – Phase I
A total of 283 accredited testing laboratories have been recognized by the FCC:
  Australia - 2
  Canada - 7
  Chinese Taipei - 42
  Europe - 46
  Hong Kong - 4
  Korea - 26
  Japan – 48
  Singapore – 1
  United States – 107
  Vietnam – 0

## Slide 18: MRA Status – Phase II
Mutual acceptance of approvals (Phase II) is operational with the following countries:
  Canada
  European Union
  Singapore
  Hong Kong
  Japan
A total of 34 Telecommunication Certification Bodies (TCBs) have been recognized by the FCC:
  United States – 19
  Europe – 12
  Canada – 2
  Singapore – 1

## Slide 19: Thank you
William Hurst, P.E.
Federal Communications Commission
Office of Engineering and Technology
Laboratory Division
William.Hurst@fcc.gov