ANSI ACCREDITED STANDARDS COMMITTEE C63

ELECTROMAGNETIC COMPATIBILITY

SUBCOMMITTEE 8 – MEDICAL DEVICES AND EMC

# 2004 October Report

27 October 2004

- Opening and Self-Introductions

*designates members

- Dan Hoolihan*					Hoolihan EMC Consulting

- Don Heirman*						Don Heirman Consultants

- Barry Wallen						Dell

- Jeff Silberberg*					FDA

- Howard Bassen*					FDA

- Victor Kuczynski*					Vican Electronics

- Martin Perrine	*					FCC

- Jon Casamento*					FDA

- Ed Hare						ARRL

- Bob Hofmann*					Hofmann EMC Consulting

- Stephen Berger*					TEM Consulting

- John O’Brien						National Instruments

- Herb Mertel*						Individual

- Mike Windler*					UL

- Zhong Chen						ETS-Lindgren

- George Hirvela					Cingular

- Al Wieczorek*					Motorola

- Jim Turner*						ATIS

- Dheena Moongilan*					Lucent

- Review and Adoption of Agenda

- Reviewed and Adopted.

- Review and Adoption of Minutes of Previous Meeting

- The Second Draft of the Minutes from April – 2004 were reviewed and approved.

- Working Group Reports

- 4.1	WG#1 – Jeff Silberberg

- Jeff reported that due to other priorities that progress on the second edition of C63.18 has slowed down. There was a working group meeting on October 26th and Dave Baron from ETS-Lindgren had some solid contributions on field strength meters. He proposed teleconference calls every other month with his working group with the idea of having another Draft ready to go by next April.

- WG1 consists of the following members:

- Jeff Silberberg, Chair

- Don Heirman

- Bob Hofmann

- Dan Hoolihan

- Herb Mertel

- Joe Morrissey

- Don Witters

  - WG#2 – Howard Bassen – C63.21

- No progress reported; realistic equipment impedances for medical equipment are being discussed.

- ACTION ITEM – Jon Casamento – Submit impedance information to Bob Delisi of UL so that measurements may be made on the phantom.

- ACTION ITEM – Howard Bassen – Write a Technical Report that summarizes the measurements made on the phantom with both 50 ohm impedance (completed) and the more realistic impedances (work yet to be done).

- 4.3	 WG#3	- Steve Berger – C63.19

- The second recirculation of the revision of C63.19 is due to be completed by November 26th. It is expected that a third recirculation  may be necessary due to some comments that were received.

- ACTION ITEM – Bob Pritchard – Remind the balloters immediately to get all their ballots in on the second recirculation.

- ATIS stated they were “happy with the ballot”  at the meeting. Martin Perrine requested an editorial review of the document before it is recirculated.

- Steve reported that the WG would remain active after the next revision to:

- Liaise with ATIS

- Concerns about lab to lab repeatability

- Third party Quality Control system concerns

- Simplify the test procedure in C63.19

- Lab training

Cordless phones were discussed at the meeting; this is a technology that wasn’t considered strongly in the original edition, but, now is a concern.

Activity at TIA was discussed at the meeting. They are working on a standard for hearing aid compatibility in the TR41 committee.

ACTION ITEM – Parent Committee – Invite TIA to join the C63 committee

  - WG#4 – Howard Bassen

- Howard Bassen discussed the proposed project to draft a horizontal standard for developing tissue-equivalent models. These models will be used for testing radiated emissions and immunity of medical implants.  Existing standards for use in this area include:

- ANSI/AAMI PC69:2000

- ASTM F 2182

- ETSI EN 302 195-1

- IEC 60601

- FCC Docket 03-137

- Examples of medical implant devices include pacemakers, defibrillators, insulin pumps, and spinal cord stimulators.

- ACTION ITEM – Howard Bassen – Recirculate PINS to SC-8 for comments; comments are due back to Howard by 31 January 2005. If SC-8 concurs with the PINS, circulate the proposed PINS to the main committee for preliminary review.

- Unfinished Business

  - IEC SC62A Maintenance Team 23

- Jeff Silberberg reported that IEC 60601-1-2 -  Amendment 1 was released in September.  He reported that 1400 comments were received on the Committee 
Draft for Voting of the Third Edition of 60601-1. Some of these comments were submittede by the Maintenance Team.

- Plans for the future include harmonizing the clauses in 60601-1-2 with 60601. This is necessary in order for 60601-1-2 to be normative.

- Long-term plans include splitting out the EMC requirements as follows”

- EMC Safety requirements – will remain in 60601-1-2

- EMC Performance Requirements – will be placed in a new standard

Other long-range concerns include Non-Hospital environments (transportation, Doctor’s offices, environments as described in IEC 61000-2-5). Also, low-frequency magnetic fields.

The next meeting of the Maintenance Team is the week of April 11, 2005 in Williamsburg, VA.

  - AAMI/EMC Committee Report

- A meeting of the committee was held in Boston on June 8, 2004.  The main topic of discussion was the second edition of Technical Information Report 18. An e-mail was sent out requesting more volunteers to work on the revision of TIR 18. There was some discussion about making it an international standard. The next meeting of the Committee will be in May of 2005 in Tampa, Florida.

  - FDA Report

Howard Bassen, Jon Casamento, and Jeff Silberberg all reported on FDA activities. Their report covered the following areas:

Information for the FDA Report at the C63 SC 8 Meeting October 28, 2004

- Lab Activities

  - Continue working on medical device EMC with security systems, metal detectors with TSA

  - Continue lab project to investigate medical devices and wireless technology (Bluetooth, 802.11 b) EMC and data integrity concerns with TATRC (Howard has details)

  - Performed testing of wireless medical telemetry for EMI with refarmed PLMRS

  - Lab measurements of hearing aids with cell phones (Jon C.)

  - MRI implant heating (Howard)

- Standards activities

  - C63.19 revision (Jon C.)

  - Working in IEC MT 23 (Jeff S.)

  - C63.18 revisions (Jeff S.)

  - New work item on implants (Howard)

  - Work in IEEE 1073/ISO TC 215 Wireless technology deployment: information and guidance

  - AAMI PC-69 part 2 for 0 to 30 MHz testing (Jon C.)

  - ISO TC 150 SC on implanted infusion pumps, implanted neurostimulators

  - ISO TC 173 SC 1 on ISO 7176 wheelchair standards

  - IEC 61326-2-6 Lab equipment, IVDs (Jeff S.)

  - IEC TC 106, draft for RFID human exposure; submitted comments (Howard, Don Heirman can fill in details)

  - AAMI EMC committee revisions of TIR 18 (Jeff S.)

  - Participating in work group on test methods for 802.11 equipment

- CDRH outreach

  - CDRH EMC group developing guidance for wireless technology in and around medical devices; addressing EMC and data integrity concerns

  - 2nd meeting on OR of the Future, Nov. 15-16 (contact: Mike Husband, ODE)

  - Coordination and meeting with FCC re: medical device concerns (HA, implants, etc.) (Howard)

ACTION ITEM – Heirman – Circulate RFID project report to SC-8 members.

- Status of FDA PINS-C Magnetic Field Test Method - October 2004

- At the April meeting, Jon Casamento, of the FDA, submitted a PINS-C to develop a test method similar to IEC 14708-1 Part 27.  This is a test generating a field of 150 A/m from 0 Hz to 150 kHz and falling off at 1/f up to 30 MHz (simulating anti-theft systems).

- Work is proceeding on a broadband magnetic field source and amplifiers to drive it.  A second coil design has been designed and built.  It is undergoing testing at the present time.

  - Mobile Healthcare Alliance (MoHCA) Report

- The white paper report from MoHCA has been released and is available on the MoHCA web page.

- New Business

- Next Meeting

The next meeting will be held in April at the IEEE in Piscataway, NJ.