Accredited Standards Committee C63

Subcommittee 1 – Techniques and Development

- Membership

No changes

- Working Group Reports

Agenda items 4.1, 4.2, 4.3, 4.5, and 4.6 below are being dealt with in C63.  The SC1 reviewed that activity during its meeting as noted below.

4.1	Project 1-1.1 C63.15 Immunity Measurements and Project 1-1.3 C63.15 Immunity Instrumentation (combined with Project 1-1.1)

This document had been balloted successfully in C63.  The comments were assembled and forwarded to Mike Windler who is the SC 1 person in charge of resolving the comments and provide an edited copy of the document by 15 November

4.2	Project 1-8.1 C63.22 Guide for Automated EMI Measurements

Document successfully balloted in C63.  Document is in queue for final IEEE editing for publication by the end of the year.  Working on next project to add automatic immunity considerations.  Looking for help especially from testing labs which automate their immunity measurements.

4.3	Project 1-8.3 C63.2 to Include CISPR 16-1-1 with US Foreword

Successful ballot in C63; resolution of comments developed by Mike Windler and Herb Mertel and forwarded to C63 secretary.

4.4	Project 1-13.2 C63.4 Site Acceptability Above 1 GHz

WG looking presently at a time domain method using a gating function to show defects in chambers.  This method appears to be very convenient and time efficient and there is no need to calibrate antennas.  . They are working on how to apply this method with a chamber validation pass/fail criteria.

4.5	Project 1-15.5  C63.23  Measurement Uncertainty

The ballot in C63 failed.  Several negative ballots occurred as the balloters considered that the work should be a recommended practice, not a standard. Preparation of a revision needed.

4.6	Project 1-15.6 C63.5 Antenna Calibration

The C63 ballot passed and ballot comments were resolved. The document is with the IEEE editing department now to prepare the document for publication.  It is expected that this document C63.5-2004 will be released by the end of the year and will replace C63.5-1988 AND 1998.

4.7	Project 1-15.7 C63.4 Fully Absorber Lined Room (FAR)

Task group is looking for test artifacts to assess impact of testing in FARs

4.8	Project 1-15.9 Maintenance of Revision to C63.4-2003

WG chair believes first draft of the document will not be available until April 2005 and publication probably in early 2006.  SC discussed need to amend the procedure for LISN calibration

  - Project 1-15.10  C63.2 and C63.4  Use of Spectrum Analyzers for Emissions Testing

The purpose is to define the issues involved in the use of spectrum analyzers and then to develop procedures for compliance measurements of emissions using spectrum analyzers.  As appropriate, this effort will develop a procedure to be included in ANSI C63.4 and instrument requirements for C63.2. This effort will consider the use of the spectrum analyzers in specific environments, such as anechoic and semi-anechoic chambers, in both preliminary scans and final measurements.

  - Project 1-15.11  Measurement of Broadband Emissions Associated with Digital Technology

The Chair suggested that this item remain on the agenda for discussion at the next meeting.   He is concerned that the topic “Measurement of Broadband Emissions Associated with Digital Technology” is too broad for this committee.

  - Old Business

PINS-C Status.  The Secretary reviewed the PINS and PINS-C on file.  These are summarized below.  The Chair requested that the PINS-C shown in bold below become a PINS and that these be posted to the C63 website and publicized along with the present approved PINS.  Further, the philosophy of having a PINS is that if the project has a C63 publication associated with it, that project should be reflected with a PINS, not a PINS-C.

Project No.	WG Chair		C63 Standard/Description		PINS/PINS-C Date

1-13.2		Windler		Site Requirements Above 1 GHz	PINS-C, 11-4-99

C63.4

1-15.5		Bronaugh		Measurement Uncertainty		PINS-C, 8-29-99

C63.23

1-15.6		Heirman		C63.5 Antenna Calibration		PINS, 1-1-2000

1-15.7		Camell			C63.4 Fully Absorber Lined Room	PINS, 11-1-00

1-1.1		Windler		C63.15 Immunity Measurements	PINS-C, 2-24-02

and Instrumentation

1-8.1		Schaefer		C63.22 Automated Immunity and	PINS-C, 10-18-99

and Emissions Measurements

1-8.3		Windler		C63.2 to Include CISPR 16-1		PINS, 3-8-01

1-15.9		Berger			C63.4 Maintenance and Revision	PINS, May 03

1-15.10	Schaefer		C63.2 and C63.4, Use of Spectrum	PINS-C, 10-28-03

Analyzers for Emissions Testing

1-15.11	Heirman		Measurement of Broadband 		PINS-C, 7-8-01

Emissions Associated with

Digital Technology

The conversion of PINS-C to PINS noted above will be made by the next SC1 meeting.

#### New Business

SC1 suggested that due to the recent requests for interpretations of clauses in C63.4 an interpretation subgroup be formed to deal with these issues in accordance with the ANSI requirements.