## Slide 1: Accredited Standards Committee C63® - EMC
Subcommittee 4
Wireless and ISM equipment measurements
Nicholas Abbondante
Chair
May 6th, 2026

## Slide 2
C63.10 - American National Standard for Testing Unlicensed Wireless Devices – ed4.0 WG underway, but on hold
C63.10.DTS.UNII PINS approved at SC4 and main committee, work ongoing using similar WG to C63.10 Ed4.0
C63.10 Corrigendum- American National Standard for Testing Unlicensed Wireless Devices – published
C63.10 Ed3.0 Amendment1- American National Standard for Testing Unlicensed Wireless Devices – published August 16th 2024
C63.26 - American National Standard of procedures for compliance testing of transmitters used in licensed radio services – eleven years into revision – reaffirmed on July 11th, 2025 in “ANSI Standards Action”
Duties of Subcommittee 4
Accredited Standards Committee C63® - EMC

## Slide 3
C63.29 - American National Standard of procedures for compliance testing of lighting products – PINS approved, WG formed, meetings are ongoing, Chair is Ernesto Mendoza
C63.30 - American National Standard of procedures for compliance testing of Wireless Power Transfer products – published, new PINS approved for Ed2.0, WG formed, meetings ongoing – Chair is Horia Popovici
C63.31 - American National Standard for compliance testing of Industrial, Scientific and Medical (ISM) Equipment – has been on hold since it depends on C63.4, work resuming, Chair is Nicholas Abbondante
Massive MIMO SC Working group – published
Duties of Subcommittee 4
Accredited Standards Committee C63® - EMC

## Slide 4
Subcommittee 4 is responsible for writing and maintaining existing and proposed C63® standards for wireless and ISM devices (e.g.lighting, wireless power transfer, Industrial and dielectric heaters, and similar equipment), as assigned by the Main Committee ANSC-C63®.
Scope of Subcommittee 4
Accredited Standards Committee C63® - EMC

## Slide 5: Accredited Standards Committee C63® - EMC
C63.10 Testing Unlicensed Wireless Devices
Corrigendum is published
Amendment – Published
  Emission BW/99% OBW for signals where modulation components are more than 20dBc
  UWB guidance on anechoic material
  UNII 5.9GHz and 6E emission masks
  Scope expansion to upper frequency boundary

## Slide 6: Accredited Standards Committee C63® - EMC
C63.10 Testing Unlicensed Wireless Devices
A PINS was approved previously and work is on hold while David Chamberlain leads the work in C63.10.DTS.UNII
Working group chair is David Chamberlain with vice chair Nicholas Abbondante
  Test reduction task group has completed work

## Slide 7: Accredited Standards Committee C63® - EMC
C63.10 Testing Unlicensed Wireless Devices – DTS UNII testing
A PINS was generated and approved in SC4 and main committee
Working group chair is David Chamberlain – decision taken in SC4 to delegate this work to the existing C63.10 Ed4.0 working group. New WG formed with similar membership.
Refences issue resolved, dated references will be used.
Met May 4th, 2026 face to face, developed a table format for the test methods
Presented Draft Wireframe of Standard
    Shows flow of proposed standard
    Allows plug and play of current text
    Decided on overall structure, common test methods will come after technology specific methods

## Slide 8: Accredited Standards Committee C63® - EMC
C63.26 Procedures for compliance testing of transmitters used in licensed radio services
ANSC C63.26 has been reaffirmed
Was circulated in SC4 for comment, comments have been received and resolved.
Radiated emissions TG led by Ryan McGann was attempting to develop a round robin to see if linear scan vs. bore sighting was different for transmitters than unintentional radiators. A preliminary round robin plan was developed but Ryan McGann received no responses from labs interested in participating.
View on this at present is we don’t believe we should delay until this can be satisfactorily investigated. We are not waiting for the final decision. We can issue an amendment if/when that time comes.
As reported in the last F2F regarding the recent Booster KDBs the same thing applies – we are not delaying publication for a potential booster update.
Discussion was held raising suggestion of a stand-alone booster standard, which the WG supports if someone wants to make a recommendation for a PINS.
Next step will be to submit it through the voting process for publication at the various C63 levels.

## Slide 9: Accredited Standards Committee C63® - EMC
C63.29:2022 Procedures for compliance testing of lighting products
Published (final action 12-2022, published 06-2023)
Work is progressing rapidly on 2.0, hope to start votes soon
Recent activity – removed the C63.4 text, discussion of color tunable LED equipment
Have added all the new technologies discussed at the beginning of the project to the same draft.
WG has only one topic open:

## Slide 10: Accredited Standards Committee C63® - EMC
C63.30:2021 American National Standard for
Methods of Measurements of Radio‐Frequency Emissions from Wireless Power Transfer Equipment Accredited
Published: C63 petition to FCC to adopt has been submitted, still pending, has been allowed in KDB680106
A PINS for Ed2.0 was passed, Chair is Horia Popovici
The Word document version of the C63.30-2021 was aligned with the latest ANSI/USEMCSC C63 template.
The generic requirements, including measurement equipment and measurement methods, have been removed and replaced with references to ANSI/USEMCSC C63.4. As such, the second edition of C63.30 has to wait for the publication of next edition of C63.4 and cannot be published before that.

## Slide 11: Accredited Standards Committee C63® - EMC
C63.30:2021 American National Standard for
Methods of Measurements of Radio‐Frequency Emissions from Wireless Power Transfer Equipment Accredited
The scope has been revised to clarify that C63.30 applies to WPT devices that are not radios (i.e., there is no communication superimposed onto the transmitted WPT signal), but specific material from C63.30 still applies for WPT devices that are radios, through the corresponding normative reference called in C63.10. This is already true of C63.30-2021 but is now further clarified.
The scope updated to also include RBWPT devices and corresponding requirements for such devices added, in accordance with the PINS.

## Slide 12: Accredited Standards Committee C63® - EMC
C63.30:2021 American National Standard for
Methods of Measurements of Radio‐Frequency Emissions from Wireless Power Transfer Equipment Accredited
Definitions that used text from CISPR and IEC documents were removed (since already in C63.4 and C63.14), so that there will be no need to ask for copyright release from the IEC again, for the second edition.
Added requirements for WPT EV systems where the coils pair is oriented vertically.

## Slide 13: Accredited Standards Committee C63® - EMC
C63.30:2021 American National Standard for
Methods of Measurements of Radio‐Frequency Emissions from Wireless Power Transfer Equipment Accredited
Concern was raised about the ground floor proximity having a disproportionate effect on the vertical coil pair WPT EV configuration. Ky (Witricity) volunteered to run some tests to determine what minimum ground clearance would be necessary to minimize these effects.
Next meeting will be scheduled after Ky finishes his tests and is able to present the results.
Other than this, the document is ready.

## Slide 14: Accredited Standards Committee C63® - EMC
C63.31 Compliance testing of Industrial, Scientific and Medical (ISM) Equipment
Now that C63 has a new secretary (Cathy Miller) to replace Allen Crumm, Cathy will be engaged to set meetings and take minutes
Remaining items are to draft and finalize the in-situ radiated emissions text, and to see if anyone is willing to lead work on developing additional guidance for specific ISM equipment listed in the scope in parallel with completing the radiated emissions procedure for in-situ, then go to publication through the standard voting process.

## Slide 15: Accredited Standards Committee C63® - EMC
Massive MIMO Working Group
Special Project Developing Paper on Test Distance for Active Antennas
Project discusses methodology on how to evaluate active antennas in near and far field measurements conditions may not be at specific 3 or 10 meter distances.
The paper was balloted in the main committee and approved for voting
This has been published in IEEE Xplore and on the C63 website

## Slide 16: Accredited Standards Committee C63® - EMC
Motion
Approve the membership of SC4

## Slide 17: Accredited Standards Committee C63® - EMC
Membership of Subcommittee
Total members – 29
Soham Surve (Amazon Lab126 withdrew)
Mike Heckrotte retired
Greg Kiemel left Apple and joined OpenAI and needs to re-join
Jeff Klinger’s affiliation has changed from Individual to Element
Name | Role in SC | Affiliation
Abbondante, Nicholas | Chair | Intertek (Primary Rep)
Antola, Michael | Member | UL LLC (Alternate Rep)
Case, David | Member | TIMCO Engineering Inc., an IIA Company (Expert)
Chamberlain, David | Member | ISED Canada (Primary)
Chen, Zhong | Member | ETS-Lindgren (Primary)
Coder, Jason | Member | NIST (Primary)
DeLisi, Bob | Member | UL LLC (Primary)
Elliott, William (Mac) | Member | TÜV SÜD America, Inc. (Primary)
Escamilla, Angel | Member | Element Materials Technology (Expert)
Friden, Jonas | Member | Ericsson AB (Expert)
Graff, William | Member | TCB Council, Inc. (Primary)
Hodes, Harry | Member | Consultant (Individual)
Hoolihan, Dan | Member | Hoolihan EMC Consulting (Individual)
House, Jody | Member | Element Materials Technology (Alternate)
Johnson, Nic | Member | Eurofins Product Service, GmbH
Klinger, Jeff | Member | Element Materials Technology
Koerner, Bill | Member | Keysight Technologies (Expert)
Kramer, Doug | Member | Apple Inc. (Expert)
Lee, Edmund | Member | Apple Inc. (Expert)
Mendoza, Ernesto | Member | Signify
Molaei, Nima | Member | Element Materials Technology (Primary Rep)
Nixon, Jason | Vice Chair | ISED Canada (Expert)
Pino, Dan | Member | Element Materials Technology (Technical Expert)
Royer, Tim | Member | TIMCO Engineering Inc., an IIA Company (Primary)
Salem, Pelin | Member | Cisco Systems, Inc. (Technical Expert)
Shumakov, Denys | Member | ISED Canada (Expert)
Skoglund, Kenth | Member | Ericsson AB (Primary)
Zerman, Kendall | Member | Sony
Zimmerman, Dave | Member | Spectrum EMC, LLC (Individual)