## Slide 1: Updates for C63
ISED – C63 presentation – October 2026

## Slide 2: Agenda
Standards Updates
Recognized Labs and CBs
Report Issues
Major issues

## Slide 3: Standards Updates

## Slide 4: Interference Causing Equipment Standards (Unintentional Radiators)
4
No updates to share at this time on ICES standards.

## Slide 5
Update on Radio Equipment Standards
Recently updated/Under revision

## Slide 6: Adoption of ANSI/USEMC C63.25.2-2024
With the publication of Issue 6 of RSS-Gen — General Requirements for Compliance of Radio Apparatus, ISED has adopted ANSI/USEMCSC C63.25.2-2024 for site validation below 1GHz.
The Normative Reference Standards webpage has been updated accordingly:
  ANSI/USEMCSC C63.25.2 (site validation methods, 30 MHz to 1 GHz):
    ANSI/USEMCSC C63.25.2-2024

## Slide 7: Recognized Labs and CBs

## Slide 8: Recognized Wireless Testing Laboratories and Certification Bodies
September 3, 2026
Total: 433 Labs
36 CBs
Chinese Taipei
30
Australia
3
Hong Kong
7
New Zealand
3
Malaysia
3
8
Germany
18 / 3
China
170
Korea
33
Japan
10
India
8
Israel
6
Slovenia
1
Norway
1
Sweden
4
Finland
5
Italy
8
Canada
15 / 5
USA
81 / 20
Spain
2 / 2
UK
7 / 3
Netherlands
2 / 1
Denmark
2
France
11
Singapore
3 / 1
Austria
1/ 1
Czech
1
Ireland
1
Switzerland
1

## Slide 9: Amendments to the Testing Laboratory Technical Assessment Checklist
With the publication of Issue 6 of RSS-Gen — General Requirements for Compliance of Radio Apparatus, ISED has amended the checklist for site validation below 1GHz in accordance with ANSI/USEMCSC C63.25.2-2024.
Questions Q2a, Q9 and Q40b of the Testing Laboratory Technical Assessment Checklist have been updated accordingly.
The previous checklist (dated June 25, 2024) may be used until the end of the RSS-Gen, issue 6 transition period on July 30, 2027.

## Slide 10: Report Issues

## Slide 11: Major recurring deficiencies
Missing measurement results
Missing spectral plots
Missing band-edge plots
Missing results above 18 GHz
Missing results through the tenth harmonic
Missing worst-case plots
Insufficient data for supported configurations
Measurement methodology
Incorrect RBW down-conversion
Incorrect or unclear detector selection
Insufficient sweep time or test points
Wrong test mode or channel
Inadequate test-site setup

## Slide 12: Major recurring deficiencies – cont’d
Corrections and Calculations
Unexplained offset values
Flat correction factors
PSD results were adjusted using RBW down-conversion
Attenuator and plot-offset inconsistencies
Missing antenna or passive-device corrections
Equipment Lists
Passive devices excluded from equipment lists
  Missing measurement cables
  Missing attenuators and splitters
Equipment shown in diagrams but not documented

## Slide 13: Common Testing Errors
Emissions need to be measured for each mode of operation.
It is not acceptable to have identical results within different technology specific reports.
RSS-131 applicability list
Zone enhancers can only be certified to operate under a standard that is listed on the applicability list.
Zone enhancers that operate outside these standards are out of scope for RSS-131.
AC Powerline Emissions
Level Probe measurements
Testing must be performed using the requirements in ETSI EN 302 729 or EN 302 372, depending on the type of probe.
This includes any special arrangements for the test site.
Proper alignment of the transmit antenna boresight is critical.

## Slide 14: Major issues

## Slide 15: Quality trends in test reports
Data re-use
Data re-use has become an emerging trend
What to watch for
spectrum analyzer plots missing timestamps
fuzzy image resolution
Reporting identical results for different modes (example: AC Powerline in WiFi, BT reports)

## Slide 16
Questions?