Accredited Standards Committee C63

Subcommittee 1 – Techniques and Development

Approved Minutes

## April 26, 2005

IEEE, Piscataway, New Jersey

Presiding Officer:  D.N. Heirman				Date Prepared:  April 26, 2005

# Subcommittee Secretary:  Janet O’Neil

Members Present:				Employer:

Stephen Berger				TEM Consulting

# Dennis Camell					NIST

Chrys Chrysanthou				Telecordia Technologies

Cecil Gittens					Eastman Kodak Company

Don Heirman (Chairman)			Don HEIRMAN Consultants

Dan Hoolihan					Hoolihan EMC Consulting

Greg Korytkowski				ADIC

Victor Kuczynski				Vican Electronics

John Lichtig					Lichtig EMC Consulting

Janet O’Neil (Secretary)			ETS-Lindgren

Werner Schaefer				Cisco Systems, Inc.

Ralph Showers				University of Pennsylvania

Jeff Silberberg					FDA Center for Devices & Radiological Health

Bill Stumpf					DLS Electronic Systems

Mike Windler (Vice Chair)			Underwriters Laboratories Inc. (UL)

Members Absent:				Employer:

Jon Casamento				FDA Center for Devices & Radiological Health

H. R. Hofmann				Hofmann EMC Consulting

Herb Mertel					Mertel Associates

Barry Wallen					Dell

Guests:					Employer:

Colin Brench					Hewlett-Packard

Bob DeLisi					Underwriters Laboratories Inc. (UL)

Ken Hall					Hewlett Packard

Dheena Moongilan				Lucent Technologies

Tom Phillips					FCC

Bob Pritchard					IEEE

Ed Hare					ARRL

- Call to Order

Chairman Don Heirman called the meeting to order at 1:00 pm.  He reviewed the C63 activity for the week.  A round of introductions was made.

.

- Approval of October 26, 2004 Minutes and April 26 Meeting Agenda

The minutes of the October 2004 meeting were approved as part of the consent agenda. These will be posted on the C63 web site.  ACTION ITEM SC1-05APR-1 to O’Neil to distribute approved minutes to committee.  ACTION ITEM SC1-05APR-2 to Pritchard to send these to Bob Hofmann for posting to the C63 website.  The agenda for the April 26 meeting was approved.  (See Attachment A.)

- Membership

The Secretary reviewed the attendance record (i.e. running meeting attendance list) per Attachment B.  There are no members whose membership status is in jeopardy for having missed three consecutive meetings.  The roster of working group chairs and committee members was also circulated to the committee for updating and is contained in Attachment C.  Corrections were made to the list and returned to the secretary at the meeting.  If there are any further corrections, they should be sent to the SC 1 secretary.  ACTION ITEM SC1-05APR-3a-e for all WG chairs to confirm the membership in Attachment C and to provide a correct email address for each member 60 days before the next meeting of the Subcommittee (July 26, 2005).   Dan Hoolihan advised that all SC 1 members are current in their dues.  For further information on membership dues, contact the C63 membership chairman, Dan Hoolihan, at hoolihan@citlink.net.

- Working Group Reports

The Chair showed the matrix of C63 standards prepared by Bob Pritchard dated April 24, 2005.  (See Attachment D.)  This shows the status of all current standards.  Once this is reviewed and updated following the C63 meetings this week, Mr. Pritchard will send this on to Bob Hofmann to post to the C63 website.  ACTION ITEM SC1-05APR-4 to Pritchard to update the standards status matrix and send this to Bob Hofmann to post to the C63 website.

4.1	Project 1-1.1 C63.15 Immunity Measurements and Project 1-1.3 C63.15 Immunity Instrumentation (combined with Project 1-1.1)

This work is in C63.  However, a short update was presented during the meeting.  Mike Windler advised that this document had been successfully balloted in C63.  Steve Berger and Ed Hare updated the committee on the activities of C63 SC5 WG1 that addresses the immunity of office equipment. A new PINS was shown for information purposes which detailed the work that is assigned to SC 5.  Mr. Berger advised that a company in New York brought their problem related to interference between office equipment (e.g., IP Phones, conferencing equipment) and wireless devices (e.g., cell phones, PDAs) to C63 SC5.  The WG1 of SC5 met in the morning to discuss the prepared outline of the draft standard and assigned further action items. It was mentioned that new test parameters were already included in this draft; for example a pulse modulation (pulse width 100 microsecond, 100 Hertz PRF) was suggested for use during the immunity test.  The PINS will be presented to the C63 parent committee on Thursday.  There was no further discussion in SC1 as it has been agreed that the present immunity work in SC1 once concluded will be turned over to SC 5.

4.2	Project 1-8.1 C63.22 Guide for Automated EMI Measurements

This work is in C63.  However, a short update of the next edition of C63.22 was presented during the meeting. Working Group Chair Werner Schaefer presented his report. (See Attachment E.) Mr. Schaefer proposed a change to the current structure of C63.22 so the inclusion of the immunity portion can be easily accommodated. Furthermore, Mr. Schaefer proposed to focus on the automation of radiated and conducted immunity testing only. The committee agreed with Mr. Schaefer’s proposal to focus on radiated and conducted immunity measurement in accordance with IEC 61000-4-3 and IEC 61000-4-6, respectively.  Mr. Schaefer requested assistance in completing this work.  Currently, only Mr. Schaefer and Mike Windler are members of the working group.  The Chair suggested contacting other members of C63 such as ACIL, to participate in this effort.    Ken Hall volunteered to participate on this working group.  Ed Hare volunteered to be a liaison with SC 5.  Mike Windler volunteered to contact IFI and Werner Schaefer volunteered to contact AR Worldwide. ACTION ITEM SC1-05APR-5a-b to Windler to contact IFI (Instruments for Industry) and Schaefer to contact AR Worldwide to seek their involvement in this working group. The next step will be to identify the tasks to be completed and then assign these tasks to members of the working group.

4.3	Project 1-8.3 C63.2 to Include CISPR 16-1-1 with US Foreword

This work is in C63.  However, a short update was presented during the meeting.  Mike Windler advised that the recirculation material was provided to Bob Pritchard in October 2004.  IEEE then sent out the re-circulated document and the ballot return date was extended in December to January 12 due to a lack of response from the voting members.  The draft has now been rewritten by Mike in the new IEEE template and provided back to the secretariat for re-balloting.

4.4	Project 1-13.2 C63.4 Site Acceptability above 1 GHz

The Chair advised that he attended the CISPR/A working group meetings in Frankfurt, Germany in March 2005. The site evaluation method referred to as SVSWR (Site Voltage Standing Wave Ratio) was one of the major points of discussion.  Working Group Chair Mike Windler then presented his report. The goal of this Working Group is to determine how to validate a test site above 1 GHz.  The previous work focused on a frequency domain method that required a special calibration of horn antennas (antenna pattern calibration).  The working group pursued a pattern comparison method using signal generators and spectrum analyzers or vector network analyzers, but many users in the EMC community found this to be a difficult method.  The working group now is looking into a time domain reflectometry method.  Michael Foegelle and others conducted measurements using this technique at ETS-Lindgren in a tapered chamber in October 2004.  It was determined that this method should be pursued further for site qualifications in the frequency range above 1 GHz because of its sensitivity to determine reflections and its efficiency.  The working group drafted a procedure using this technique and will try to use the method at NIST, UL and the FCC.  Ken Hall of HP, Cecil Gittens of Kodak, and Werner Schaefer of Cisco Systems volunteered to also participate in this “round robin” testing using this new technique. ACTION ITEM SC1-05APR-6 to Windler to include Ken Hall, Cecil Gittens and Werner Schaefer in the working group’s “round robin” testing.  The Chair noted that this work resides entirely within SC 1 at the moment.

Werner Schaefer advised that the CDV of the site validation project in CISPR/A was submitted to the central office on April 26, 2005 and the circulation is to be expected by the end of June 2005.  The Chair asked if there should be a formal response (to the US National Committee technical Advisory Group (TAG) for CISPR A) from C63 on this document.  Mr. Windler agreed to provide the Chair with a list of his working group members that should review the CDV for a possible input to the TAG.  ACTION ITEM SC1-05APR-7 to Windler to provide a list of people who should review the CISPR/A CDV to Don Heirman.

Ken Hall then gave an update on the round robin antenna calibration efforts he initiated within CISPR/A.  In summary, five GHz antennas (LPDAs and horns) were sent around to nine calibration laboratories. The worst-case deviation was > 9dB, and the reproducibility was > 4 dB for five setups. Mr. Hall noted that several calibration laboratories in the US and in Europe use C63.5, others use SAE ARP 958.  The Chair noted that there is no calibration procedure within CISPR16-1-4 and hence it is not surprising that there are different calibration procedures and practices.

4.5	Project 1-15.5 C63.23  Measurement Uncertainty

This work is in C63.  However, a short update was provided during the meeting.  The Chair noted that the ballot on this document was issued in C63 and failed.  Many of the votes were negative, largely due to the fact that the document should be called a recommended practice rather than a standard.  Mike Windler, Bob DeLisi, and Tim Harrington will address the comments, which were mainly editorial in nature.  ACTION ITEM SC1-05APR-8 to Windler, DeLisi and Harrington to address the comments on behalf of C63 received on C63.23. Mr. Windler, the working group chair for any continuing activity in SC1 on measurement uncertainty after taking this over from Ed Bronaugh, feels that the present ballot comments can be easily resolved.  He expects the document to be ready to submit to Bob Pritchard by the end of June for a new ballot in C63. Mike Windler will have an action item in C63 to submit resolution comments to Pritchard by the end of June.  For the continuing work in SC1, Cecil Gittens will forward his comments on uncertainties related to ESD to Mike Windler.  ACTION ITEM SC1-05APR-9 to Gittens to provide his comments on uncertainties related to ESD to Windler by May 30. Victor Kuczynski gave his comments on conducted immunity testing, conducted emission measurements and ESD to Mr. Windler, following the committee meeting.

4.6	Project 1-15.6 C63.5 Antenna Calibration

The Chair advised that the document C63.5-2004 was released on December 20, 2004 and sales are brisk.  This document replaces both C63.5-1988 and C63.5-1998.   There is little activity now although there continues to be a need for the next step, which is to extend the application to log periodic array antennas.  Mike Windler is seeking volunteers to help in this work including further work on calibrations above 1 GHz.

4.7	Project 1-15.7 C63.4 Fully Absorber Lined Room (FAR)

The Chair advised that there is a tremendous interest in Europe in the FAR chamber as an environment for radiated emissions compliance testing. The Chair would like to see ACIL get involved in this effort.  The task group headed by Dennis Camell has a test artifact available to assess the impact of using FARs instead of test facilities with a reflecting ground plane. Ken Hall will look into obtaining the test artifact from REGTP so that NIST can participate in the CISPR round robin test as well. ACTION ITEM SC1-05APR-10 to Hall to obtain the test artifact from REGTP (German equivalent to the US FCC).  The working group has arranged for a floor standing EUT from UL to be sent to selected labs for emission measurements. Currently UL and Kodak are on the list as well as NIST.   Dennis Camell will check with ETS-Lindgren as to the availability of their chamber. ACTION ITEM SC1-05APR-11 to Camell to check with ETS-Lindgren about the availability of their chamber.  Plans are to finish the round robin testing with current participants by the end of August 2005 and report by the end of September 2005.  ACTION ITEM SC1-05APR-12 to Camell to complete the first effort of round robin testing by August 30 and submit a report to SC1 by September 23 in time for discussion at the SC1 meeting on September 27.

4.8	Project 1-15.9 Maintenance of Revision to C63.4-2003

The Chair noted that this Working Group has identified two topics or focus areas: GTEM and measurements above 1 GHz that are the priority items to be addressed in the next maintenance revision.  Mr. Berger advised that working group members who have been given action items to complete are expected to present an update on their activity at the next SC1 meeting.

Mat Aschenberg drafted a document on GTEM usage above 1 GHz to address one of the major focus areas and also addresses harmonization with IEC 61000-4-20 and related TIA standards.  Mike Windler has been working on validating test sites above 1 GHz to address the second focus area.  Due to the amount of work involved, Mr. Berger believes the first draft of the document will not be available until April 2006 for review by the committee and publication no earlier than late 2006.  In summary, the Chair requested that a draft document of C63.4-2006, which includes the GTEM work, be ready for review by the next SC 1 meeting.   ACTION ITEM SC1-05APR-13 to Stephen Berger to distribute a draft of C63.4-2006, which includes the GTEM, to the SC 1 committee by June 30.

### The Chair reviewed the following maintenance items that are to be included in the next revision to C63.4-2003 and identified the person leading the implementation:

a) 	Site validation and measurement procedures > 1 GHz – Windler

b)	GTEM validation and measurement procedures for intentional radiators and for frequencies >1 GHz and harmonization with IEC 61000-4-20 and related TIA standards – Berger/Aschenberg

c)	Use of ferrites on cables leaving the test volume. The Chair noted that this topic needs to be published in the form of a technical report to capture the data taken and material prepared that indicate the impact of ferrites on test results – Hofmann was assigned leadership of this topic

d)	Video display issues – Hofmann using inputs from N. Nardeau

e)	Cable loss as a function of temperature –  Volunteer needed

f)	LISN calibration procedures – Moongilan

g)	Figure 2 (LISN impedance) equation – Hofmann

h)	Pulse desensitization – Schaefer

i)	Use of spectrum analyzers for compliance measurements - Schaefer

Ken Hall noted that he has a technical editor at HP that can edit and review the draft document.  The Chair requested that Steve Berger send Ken Hall an electronic copy of C63.4-2003, along with the new template provided by IEEE.  ACTION ITEM SC1-05APR-14 to Berger to send a soft copy of C63.4-2003 and the new IEEE standards template to Hall.  Mr. Berger requested that the HP editor drop the document into the IEEE template.  ACTION ITEM SC1-05APR-15 to Hall to request HP editor to incorporate the C63.4-2003 standard into the new IEEE provided standards template.

  - Project 1-15.10  C63.2 and C63.4  Use of Spectrum Analyzers for Emissions Testing

Working Group Chair Werner Schaefer presented his report on the scope of this work.  (See Attachment F.)  The Chair reiterated the scope of this PINS-C, which was recently approved:  “The purpose of this effort is to define the issues involved in the use of spectrum analyzers and then to develop procedures for compliance measurements of emissions using spectrum analyzers.”  As appropriate, this effort will develop a procedure to be included in ANSI C63.4 and instrument requirements for C63.2. This effort will consider the use of the spectrum analyzer in specific test environments, such as anechoic and semi-anechoic chambers, in both preliminary scans and final measurements.  Victor Kuczynski volunteered to be a member of this working group. It was noted that Cathy Kirk of Agilent is interested in being a member of this working group as well.  Mr. Schaefer will contact her and inquire about her participation.  ACTION ITEM SC1-05APR-16 to Schaefer to add Kuczynski to his working group and to invite Cathy Kirk to be a member of his working group.

In order to move forward on this work, Mr. Schaefer moved to create a PINS to address the necessary changes to standard C63.2, which takes into account the use of spectrum analyzers.  The motion was seconded and approved.  Mr. Windler moved to include the text on the use of spectrum analyzers to the maintenance work on document C63.4-2003.  The motion was seconded and approved. (Note: This task was added as item i) in the listing of maintenance items under item 4.9 above.)

The Chair asked secretary O’Neil to alert Stephen Berger about this topic being added to his working group addressing the maintenance of C63.4-2003.  ACTION ITEM SC1-05APR-17 to O’Neil to alert Berger about the addition of the use of spectrum analyzers for compliance measurements (headed by Schaefer) to the maintenance items of C63.4-2003.

The Chair asked Mr. Schaefer to submit the PINS for C63.2 by June 30, 2005.  ACTION ITEM SC1-05APR-18 to Schaefer to submit a PINS for C63.2 by June 30, 2005.  This will then be sent to the secretary of C63 for placing it on the C63 agenda for approval at its September meeting.

4.10	Project 1-15.11 Measurement of Broadband Emissions Associated with Digital Technology

The Chair suggested that this item remain on the agenda for discussion at the next meeting.   He is concerned that the topic “Measurement of Broadband Emissions Associated with Digital Technology” is too broad for this committee as there are many sources that can be called broadband, e.g. ultrwideband, spread spectrum, etc. Tom Phillips agreed to talk with Martin Perrine and Bill Hurst at the FCC to determine what further action is required on this topic.  ACTION ITEM SC1-05APR-19 to Phillips to check with the FCC labs about how they would like to move forward and contribute on this topic.

  - Old Business

PINS and PINS-C Status.  The Secretary reviewed the PINS and PINS-C on file.  These are summarized below.   Bob Pritchard previously advised that there is a new PINS form.  The Chair requested that the working group chairs of the projects in bold below submit an updated PINS using the new form.

Project No.	WG Chair		C63 Standard/Description		PINS/PINS-C Date

1-13.2		Windler		Site Requirements Above 1 GHz	PINS-C, 11-4-99

C63.4

1-15.5		Windler		Measurement Uncertainty		New PINS Provided

C63.23

1-15.7		Camell		C63.4 Fully Absorber Lined Room	New PINS form

1-8.1		Schaefer		C63.22 Automated Immunity and	New PINS Provided

and Emissions Measurements

1-15.9		Berger			C63.4 Maintenance and Revision	New PINS form

1-15.10	Schaefer		C63.2 Use of Spectrum		New PINS Form

Analyzers for Emissions Testing

1-15.11	Heirman		Measurement of Broadband 		PINS-C, 7-8-01

Emissions Associated with

Digital Technology

These PINS should be submitted to Bob Pritchard with a copy to the Chair (Heirman) and Secretary (O’Neil) by June 1, 2005.  ACTION ITEM SC1-05APR-20a-c to Camell, Berger and Schaefer to submit their new PINS to Pritchard, Heirman and O’Neil by June 1, 2005.  Upon review by Mr. Pritchard, these new PINS will be sent to Bob Hofmann for posting to the C63 website.  ACTION ITEM SC1-05APR-21 to Pritchard to send these revised (using the new format) PINS to Hofmann to post to the C63 website.

#### New Business

The Chair noted that the C63 Steering Committee would meet this week to discuss the following items.  The outcome will be presented at the C63 meeting later in the week.

6.1	Interpretations Subgroup of C63 SC 1 – The Chair noted the various requests for interpretations that have come in regarding C63.4.  Each request was addressed within a reasonable time but less than 30 days on average. He then indicated the topic of each explanation as they were identified in that an interpretation was not needed.  The source of the explanation is shown in parentheses:

- Location of monitor and ac adapter (Japan)

- Antenna calibration must use C63.5 and they can use antennas other than tuned dipoles as reference antenna (A2LA)

- Where to get TV receiver input signal information (Japan)

- Do bundled cables need to be manipulated for emission maximization (FCC referral)

- Can absorber material be on the ground plane for radiated emission measurements above one GHz (Intel)

- f. In-situ LISN calibration requirement (Elliott Labs)

  - Workshops on SC topics – The Chair requested input from the committee on potential topics to address in future C63 workshops.

  - Coordination with CISPR and TC77 US TAGs –A question was raised about whether or not C63 should coordinate more closely with the international standards bodies.  The Chair advised that this could only be accomplished through a US TAG member that is also a member of C63.  Further discussions should be in SC3.

  - Review of C63 budget for 2005.  The Chair noted that the annual budget for C63 requires income from membership fees and revenue from C63 workshops to cover expenses.  Membership fees alone do not cover expenses and depending on expenses and control thereof, there may be a need to raise membership dues next year.

  - IEEE Standards Editing Training – The Chair requested feedback on the training held at IEEE on April 25.  Some 10-12 people attended.  The comments were very positive.  Standards will be retained as a MS Word document. In the future, IEEE will provide the standards source file in MS Word to the C63 working groups that are tasked to maintain the standard.  The IEEE has a new template for standards development, which is required for all future documents, as well as revisions to current standards. How to use the template was the main source of the training.  It is expected that use of the template will save considerable editing costs.

#### Action Item Review

The Chair reviewed the action items not previously addressed on the agenda.   The majority of the action items have been covered previously in the meeting.  The updated consolidated action item list is included in Attachment G.

#### 8.0    Time and Place of Next Meeting

The next SC 1 meeting will either be over the week of September 26 or the week of December 12.  Tentative locations are NIST - Colorado (September) and Cisco – California (December). Secretary’s Note:  At the C63 meeting later in the week, the period 27-29 September was selected making the SC 1 meeting on September 27.  Both HP and CISCO are looking for hosting the meeting in the Silicon Valley area.

9.0    Adjournment

There being no further business, the meeting adjourned at 4:40 pm.

Minutes Submitted by:

Janet O’Neil, Secretary, SC 1

ATTACHMENTS

Attachment A: Agenda for April 26 SC 1 Meeting

Attachment B: Meeting Attendance List

Attachment C: SC 1 Membership Roster and Working Group Roster

Attachment D:  Standards Matrix

Attachment E: Schaefer report on Status of C63.22

Attachment F: Schaefer report on use of spectrum analyzers for emissions testing

Attachment G: Consolidated Action Item List